

 Dear sales

Please quote the following fastener hardware with estimate freight cost to Laredo, Texas Also include your data sheet for my review

THE TYPE TRAPLEX CLAMPS BRAND B LINE OR ANVIL BRAND  
ROD COUPLING FIG 136 ANVIL  
WLEDLESS EYE NUT FIG 290 ANVIL  
ROD ATTACHMENTS FIG 157 ANVIL  
BEAM CLAMP FIG 218 ANVIL  
BEAM CLAMP FIG 228 ANVIL

SAME RFQ WE ONLY ADD MORE ITEM

 THE REST CAN BE THREADED ROAD CAN BE ANY BRAND AS WELL AS HARDWARE.

 , could please quote me the following material.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Required quantity** | **Existence in Winery** | **Quantity to buy** | **Unit** | | **Description** | | | | | | | | | | | | | | **Measure** | | **Color** | | **Other specifications** | | | |
| 1800 |  |  | PZA | | ASPARAGUS STUD GALVANIZED (3 METER EACH) | | | | | | | | | | | | | | 3/8 " | |  | |  | | | |
| 1100 |  |  | PZA | | ASPARAGUS STUD GALVANIZED (3 METER EACH) | | | | | | | | | | | | | | 1/2 " | |  | |  | | | |
| 300 |  |  | PZA | | ASPARAGUS STUD GALVANIZED (3 METER EACH) | | | | | | | | | | | | | | 5/8 " | |  | |  | | | |
| 175 |  |  | PZA | | ASPARAGUS STUD GALVANIZED (3 METER EACH) | | | | | | | | | | | | | | 3/4 " | |  | |  | | | |
| 145 |  |  | PZA | | ASPARAGUS STUD GALVANIZED (3 METER EACH) | | | | | | | | | | | | | | 7/8 " | |  | |  | | | |
| 35 |  |  | PZA | | ASPARAGUS STUD GALVANIZED (3 METER EACH) | | | | | | | | | | | | | | 1 " | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | | | |
| 3800 |  |  | PZA | | STRUCTURAL NUT A325 | | | | | | | | | | | | | | 3/8 " | |  | |  | | | |
| 2800 |  |  | PZA | | STRUCTURAL NUT A326 | | | | | | | | | | | | | | 1/2 " | |  | |  | | | |
| 950 |  |  | PZA | | STRUCTURAL NUT A327 | | | | | | | | | | | | | | 5/8 " | |  | |  | | | |
| 750 |  |  | PZA | | STRUCTURAL NUT A328 | | | | | | | | | | | | | | 3/4 " | |  | |  | | | |
| 650 |  |  | PZA | | STRUCTURAL NUT A329 | | | | | | | | | | | | | | 7/8 " | |  | |  | | | |
| 50 |  |  | PZA | | STRUCTURAL NUT A330 | | | | | | | | | | | | | | 1 " | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | | | |
| 2000 |  |  | PZA | | STRUCTURAL WASHER | | | | | | | | | | | | | | 3/8 " | |  | |  | |  | |
| 1200 |  |  | PZA | | STRUCTURAL WASHER | | | | | | | | | | | | | | 1/2 " | |  | |  | |  | |
| 300 |  |  | PZA | | STRUCTURAL WASHER | | | | | | | | | | | | | | 5/8 " | |  | |  | |  | |
| 750 |  |  | PZA | | STRUCTURAL WASHER | | | | | | | | | | | | | | 3/4 " | |  | |  | |  | |
| 850 |  |  | PZA | | STRUCTURAL WASHER | | | | | | | | | | | | | | 7/8 " | |  | |  | |  | |
| 50 |  |  | PZA | | STRUCTURAL WASHER | | | | | | | | | | | | | | 1 " | |  | |  | |  | |
|  |  |  |  | |  |  | |  | |  | |  | |  | |  | | |  | |  | |  | |  | |
| 320 |  |  | PZA | | NUT ANCO | | | | | | | | | | | | | | 3/8 " | |  | |  | | | |
| 120 |  |  | PZA | | NUT ANCO | | | | | | | | | | | | | | 1/2 " | |  | |  | | | |
| 750 |  |  | PZA | | NUT ANCO | | | | | | | | | | | | | | 5/8 " | |  | |  | | | |
| 550 |  |  | PZA | | NUT ANCO | | | | | | | | | | | | | | 3/4 " | |  | |  | | | |
| 600 |  |  | PZA | | NUT ANCO | | | | | | | | | | | | | | 7/8 " | |  | |  | | | |
| 85 |  |  | PZA | | NUT ANCO | | | | | | | | | | | | | | 1 " | |  | |  | | | |
|  |  |  |  | | Or similar brand | | | | | | | | | | | | | |  | |  | |  | | | |
| 25 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE or SIMILAR | | | | | | | | | | | | | | 14 " | |  | |  | | | |
| 65 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 12 " | |  | |  | | | |
| 68 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 10 " | |  | |  | | | |
| 90 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 8 " | |  | |  | | | |
| 20 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 6 " | |  | |  | | | |
| 20 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 4 " | |  | |  | | | |
| 65 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 3 " | |  | |  | | | |
| 150 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 2 1/2 " | |  | |  | | | |
| 12 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 1 1/2 " | |  | |  | | | |
| 385 |  |  | PZA | | CLAM TRAPEZE TYPE HEAVY B-LINE SERVICE | | | | | | | | | | | | | | 1 " | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | |  | |
| 500 |  |  | PCS | | NUT 3/8 SPRING (SPRING) | | | | | | | | | | | | | | 3/8 | |  | |  | | | |
| 200 |  |  | PCS | | NUT SPRING (SPRING) | | | | | | | | | | | | | | 1/2 | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | | | |
|  |  |  |  | | CATALOG ANVIL | | | | | | | | | | | | | |  | |  | |  | | | |
| 785 |  |  | PZA | | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 3/8 " | |  | |  | | | |
| 648 |  |  | PZA | | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 1/2 " | |  | |  | | | |
| 118 |  |  | PZA | | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 5/8 " | |  | |  | | | |
| 95 |  |  | PZA | ROD COUPLINGFIG. 137 | | | | | | | | | | | | | | 3/4 " | |  | |  | |  | |  |
| 185 |  |  | PZA | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 7/8 " | |  | |  | | | |  |
| 78 |  |  | PZA | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 1 " | |  | |  | | | |  |
|  |  |  | PZA |  | | | | | | | | | | | | | |  | |  | |  | | | |  |
| 125 |  |  | PZA | WELDLESS EYE NUT. 290 | | | | | | | | | | | | | | 5/8 " | |  | |  | | | |  |
| 135 |  |  | PZA | WELDLESS EYE NUT. 291 | | | | | | | | | | | | | | 3/4 " | |  | |  | |  | |  |
| 175 |  |  | PZA | WELDLESS EYE NUT. 290 | | | | | | | | | | | | | | 7/8 " | |  | |  | | | |  |
| 45 |  |  | PZA | WELDLESS EYE NUT. 290 | | | | | | | | | | | | | | 1 " | |  | |  | | | |  |
|  |  |  |  |  | | |  | |  | |  | |  | |  | |  |  | |  | |  | |  | |  |
| 785 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 3/8 " | |  | |  | | | |  |
| 648 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 1/2 " | |  | |  | | | |  |
| 185 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 5/8 " | |  | |  | | | |  |
| 95 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 3/4 " | |  | |  | |  | |  |
|  |  |  |  |  | | | | | | | | | | | | | |  | |  | |  | | | |  |
| [http://www.anvilintl.com/SharedContent/Pdf/Literature\_Catalog/Pipe\_Hanger\_Catalog.pdf](https://www.microsofttranslator.com/bv.aspx?from=es&to=en&a=http%3A%2F%2Fwww.anvilintl.com%2FSharedContent%2FPdf%2FLiterature_Catalog%2FPipe_Hanger_Catalog.pdf) | | | | | | | | | | | | | | | | | | | | | | | | | |  |
| 1285 |  |  | PZA | BEAM CLAMP FIG.218 (MALLEABLE BEAM CLAMP WITHOUT EXTENSION PIECE) | | | | | | | | | | | | | |  | |  | |  | | | |  |
|  |  |  |  |  | | |  | |  | |  | |  | |  | |  |  | |  | |  | |  | |  |
| 225 |  |  | PZA | BEAM CLAMP FIG.228 (MALLEABLE BEAM CLAMP WITHOUT EXTENSION PIECE) | | | | | | | | | | | | | |  | |  | |  | |  | |  |
|  |  |  |  |  | | | | | | | | | | | | | |  | |  | |  | | | |  |
| 1600 |  |  | PCS | U-VOLT FOR SIMPLE STRUT | | | | | | | | | | | | | | 4 X 4 | |  | |  | | | |  |
| 800 |  |  | PCS | SIMPLE STRUT | | | | | | | | | | | | | | 4 X 4 | |  | |  | | | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

LAS ABRAZADERAS TIPO TRAPECIO MARCA B LINE O MARCA ANVIL

ROD COUPLING FIG 136 ANVIL

WLEDLESS EYE NUT FIG 290 ANVIL

ROD ATTACHMENTS FIG 157 ANVIL

BEAM CLAMP FIG 218 ANVIL

BEAM CLAMP FIG 228 ANVIL

EL RESTO PUEDE BARILLAS ROSCADA PUEDE SER CUALQUIER MARCA AL IGUAL QUE LA TORNILLERIA.

Buenas tardes, me podrían cotizar por favor el siguiente material.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Cantidad requerida** | **Existencia en bodega** | **Cantidad a comprar** | **Unidad** | | **Descripción** | | | | | | | | | | | | | | **Medida** | | **Color** | | **Otras especificaciones** | | | |
| 1800 |  |  | PZA | | ESPARRAGO GALVANIZADO (3 MTS C/U) | | | | | | | | | | | | | | 3/8" | |  | |  | | | |
| 1100 |  |  | PZA | | ESPARRAGO GALVANIZADO (3 MTS C/U) | | | | | | | | | | | | | | 1/2" | |  | |  | | | |
| 300 |  |  | PZA | | ESPARRAGO GALVANIZADO (3 MTS C/U) | | | | | | | | | | | | | | 5/8" | |  | |  | | | |
| 175 |  |  | PZA | | ESPARRAGO GALVANIZADO (3 MTS C/U) | | | | | | | | | | | | | | 3/4" | |  | |  | | | |
| 145 |  |  | PZA | | ESPARRAGO GALVANIZADO (3 MTS C/U) | | | | | | | | | | | | | | 7/8" | |  | |  | | | |
| 35 |  |  | PZA | | ESPARRAGO GALVANIZADO (3 MTS C/U) | | | | | | | | | | | | | | 1" | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | | | |
| 3800 |  |  | PZA | | TUERCA ESTRUCTURAL A325 | | | | | | | | | | | | | | 3/8" | |  | |  | | | |
| 2800 |  |  | PZA | | TUERCA ESTRUCTURAL A326 | | | | | | | | | | | | | | 1/2" | |  | |  | | | |
| 950 |  |  | PZA | | TUERCA ESTRUCTURAL A327 | | | | | | | | | | | | | | 5/8" | |  | |  | | | |
| 750 |  |  | PZA | | TUERCA ESTRUCTURAL A328 | | | | | | | | | | | | | | 3/4" | |  | |  | | | |
| 650 |  |  | PZA | | TUERCA ESTRUCTURAL A329 | | | | | | | | | | | | | | 7/8" | |  | |  | | | |
| 50 |  |  | PZA | | TUERCA ESTRUCTURAL A330 | | | | | | | | | | | | | | 1" | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | | | |
| 2000 |  |  | PZA | | ARANDELA ESTRUCTURAL | | | | | | | | | | | | | | 3/8" | |  | |  | |  | |
| 1200 |  |  | PZA | | ARANDELA ESTRUCTURAL | | | | | | | | | | | | | | 1/2" | |  | |  | |  | |
| 300 |  |  | PZA | | ARANDELA ESTRUCTURAL | | | | | | | | | | | | | | 5/8" | |  | |  | |  | |
| 750 |  |  | PZA | | ARANDELA ESTRUCTURAL | | | | | | | | | | | | | | 3/4" | |  | |  | |  | |
| 850 |  |  | PZA | | ARANDELA ESTRUCTURAL | | | | | | | | | | | | | | 7/8" | |  | |  | |  | |
| 50 |  |  | PZA | | ARANDELA ESTRUCTURAL | | | | | | | | | | | | | | 1" | |  | |  | |  | |
|  |  |  |  | |  |  | |  | |  | |  | |  | |  | | |  | |  | |  | |  | |
| 320 |  |  | PZA | | TUERCA ANCO | | | | | | | | | | | | | | 3/8" | |  | |  | | | |
| 120 |  |  | PZA | | TUERCA ANCO | | | | | | | | | | | | | | 1/2" | |  | |  | | | |
| 750 |  |  | PZA | | TUERCA ANCO | | | | | | | | | | | | | | 5/8" | |  | |  | | | |
| 550 |  |  | PZA | | TUERCA ANCO | | | | | | | | | | | | | | 3/4" | |  | |  | | | |
| 600 |  |  | PZA | | TUERCA ANCO | | | | | | | | | | | | | | 7/8" | |  | |  | | | |
| 85 |  |  | PZA | | TUERCA ANCO | | | | | | | | | | | | | | 1" | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | | | |
| 25 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 14" | |  | |  | | | |
| 65 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 12" | |  | |  | | | |
| 68 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 10" | |  | |  | | | |
| 90 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 8" | |  | |  | | | |
| 20 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 6" | |  | |  | | | |
| 20 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 4" | |  | |  | | | |
| 65 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 3" | |  | |  | | | |
| 150 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 2 1/2" | |  | |  | | | |
| 12 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 1 1/2" | |  | |  | | | |
| 385 |  |  | PZA | | ABRASADERA TIPO TRAPECIO  SERVICIO PESADO  B-LINE | | | | | | | | | | | | | | 1" | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | |  | |
| 500 |  |  | PZAS | | TUERCA SPRING 3/8 (RESORTE ) | | | | | | | | | | | | | | 3/8 | |  | |  | | | |
| 200 |  |  | PZAS | | TUERCA SPRING  (RESORTE) | | | | | | | | | | | | | | 1/2 | |  | |  | | | |
|  |  |  |  | |  | | | | | | | | | | | | | |  | |  | |  | | | |
|  |  |  |  | | CATALOGO   ANVIL | | | | | | | | | | | | | |  | |  | |  | | | |
| 785 |  |  | PZA | | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 3/8" | |  | |  | | | |
| 648 |  |  | PZA | | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 1/2" | |  | |  | | | |
| 118 |  |  | PZA | | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 5/8" | |  | |  | | | |
| 95 |  |  | PZA | ROD COUPLINGFIG. 137 | | | | | | | | | | | | | | 3/4" | |  | |  | |  | |  |
| 185 |  |  | PZA | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 7/8" | |  | |  | | | |  |
| 78 |  |  | PZA | ROD COUPLINGFIG. 136 | | | | | | | | | | | | | | 1" | |  | |  | | | |  |
|  |  |  | PZA |  | | | | | | | | | | | | | |  | |  | |  | | | |  |
| 125 |  |  | PZA | WELDLESS EYE NUT. 290 | | | | | | | | | | | | | | 5/8" | |  | |  | | | |  |
| 135 |  |  | PZA | WELDLESS EYE NUT. 291 | | | | | | | | | | | | | | 3/4" | |  | |  | |  | |  |
| 175 |  |  | PZA | WELDLESS EYE NUT. 290 | | | | | | | | | | | | | | 7/8" | |  | |  | | | |  |
| 45 |  |  | PZA | WELDLESS EYE NUT. 290 | | | | | | | | | | | | | | 1" | |  | |  | | | |  |
|  |  |  |  |  | | |  | |  | |  | |  | |  | |  |  | |  | |  | |  | |  |
| 785 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 3/8" | |  | |  | | | |  |
| 648 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 1/2" | |  | |  | | | |  |
| 185 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 5/8" | |  | |  | | | |  |
| 95 |  |  | PZA | ROD ATTACHMENTS FIG. 157 (EXTENSION PIECE) | | | | | | | | | | | | | | 3/4" | |  | |  | |  | |  |
|  |  |  |  |  | | | | | | | | | | | | | |  | |  | |  | | | |  |
| <http://www.anvilintl.com/SharedContent/Pdf/Literature_Catalog/Pipe_Hanger_Catalog.pdf> | | | | | | | | | | | | | | | | | | | | | | | | | |  |
| 1285 |  |  | PZA | BEAM CLAMP FIG.218 (MALLEABLE BEAM CLAMP WITHOUT EXTENSION PIECE) | | | | | | | | | | | | | |  | |  | |  | | | |  |
|  |  |  |  |  | | |  | |  | |  | |  | |  | |  |  | |  | |  | |  | |  |
| 225 |  |  | PZA | BEAM CLAMP FIG.228 (MALLEABLE BEAM CLAMP WITHOUT EXTENSION PIECE) | | | | | | | | | | | | | |  | |  | |  | |  | |  |
|  |  |  |  |  | | | | | | | | | | | | | |  | |  | |  | | | |  |
| 1600 |  |  | PZAS | U-VOLT PARA UNICANAL SENCILLA | | | | | | | | | | | | | | 4 X 4 | |  | |  | | | |  |
| 800 |  |  | PZAS | UNICANAL SENCILLA | | | | | | | | | | | | | | 4 X 4 | |  | |  | | | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

 trapezoid clamp